## Slide 1: JIVE/JOVIAL Instrumental Concept
Patrick Gaulme
New Mexico State University Apache Point Observatory

## Slide 2: Science Objectives
JIVE/JOVIAL: provides radial velocity maps (Doppler imaging)
Jovian seismology
  cm/s displacement of uppermost clouds
  Frequency range of expected oscillations [1-3] mHz, i.e., ≈[5-20] min periods.
  Long time series of fast sampling data (at least 1 measurement per minute).
Venus, Jupiter, Saturn’s atmospheric dynamics
  Venus zonal (100 m/s) + meridional (20 m/s?) winds
  Jupiter/Saturn differential rotation ≈ ±100 m/s
  Stack observations: average wind profile, average wind per longitude. Do not need long times series.

## Slide 3: Radial velocity maps
What do we aim at measuring for atmospheric dynamics

## Slide 4: Radial velocity maps
What do we aim at measuring for seismology
  Subtraction of wind contribution to RVs
  Filter each RV map by a set of spherical harmonics
  Compute Fourier spectra of times series

## Slide 5: SYMPA/JIVE/JOVIAL are Fourier transform tachometers
s
Spectrum S(s)
OPD
OPD
Detector
FTS
Telescope
Interferogram
TF
I(D) =A(D)e2iPDs0
s0
(1+v/c)

## Slide 6: The SYMPA prototype
Fourier-transform imaging-spectrometer (Schmider+07, Gaulme+08, Gaulme+11)

## Slide 7: The SYMPA prototype
Fringes parallel to rotation axis

signature of Jupiter’s rotation
Gaulme et al. 2008

## Slide 8: The SYMPA prototype
I1
I3
I2
I4
I1 = I0 (1 + g cos f)
I3 = I0 (1 – g cos f)
I2 = I0 (1 + g sin f)
I4 = I0 (1 – g sin f)
U a cos f
V a sin f
Doppler shift = argument of complex interferogram: Z = U + iV
Fringe
Contrast
g ≈ 0.6%
Avec f = 2psD(1+v/c) et s = nombre d’onde, D = OPD et v = vitesse radiale

## Slide 9: Observational techniques Doppler spectrometry
Fourier transform spectrometers

## Slide 10: JOVIAL/JIVE vs. SYMPA
JOVIAL
  Based on SYMPA experience
  Modified Mach-Zehnder design
  OPD modulation for calibration
Optimisation of measurement stability, precision, resolution
  Vacuum tank to insulate the interferometer
  Simultaneous multi-sites observations
  Noise level < 4 cm/s in 2 weeks

## Slide 11: Data processing with real data
Adjustment of the four images
  Position, geometrical distortion
  Photometric response
Radial velocity map construction
Zinst
velocity map (unwrapped)
Residual velocity map
Solid Rotation Model
Zp = Z Z*inst
Arg(Zp)

## Slide 12: Biases and drifts issues
PSF effect and atmospheric seeing
  Positioning and RV biases
  (see my presentation at 3:30pm)
Jupiter polarization
  Remember, we split light according to polarization
Telescope polarization
Pupil drift
  Determines where the light beam passes through the interferometer
Jupiter rotation in the field

## Slide 13: JIVE at Sunspot
See Tom’s presentation